	[bookmark: _Hlk175230432]Factors of practicability 
	Results
	Observations 

	Time Taken 
	Black High: 2mins 20sec
Black Mid: 4mins 6secs 
Black Low: 3mins 38 secs 

White High: 2mins 16 secs 
White Mid: 1min 40secs
White Low:  4mins 34secs 
	Capturing a print was quicker in this situation using the dental camera. 

	One or two hands needed
	Two hands 
	

	Use of additional equipment e.g. mirror
	To allow for torch use a universal mobile phone stand was used. To hold the phone while capturing marks. 
	Was able to capture print without the use of a mirror. 

The phone stand allowed the iphone to be hooked around the researcher’s neck to allow for use of both hands one to hold the device the other for holding a torch.

	Lighting needed e.g. flash or torch
	Device has in built flash that cannot be turned off.
	A torch can only be used when the phone can be put down or placed into the phone stand. 

	Ease of viewing (e.g. attached viewing screen or additional viewing screen)
	Separate viewing screen needed that is capable of wifi connection. App required on phone to used device


	Iphone used as the viewing screen.
DT-WIFI app. 



	Storage of images (SD card or device storage)
	Viewing screen’s memory 
	The images will be stored onto whatever device is used at the viewing screen for the dental camera

	Successful capture of fingermark
	No, only partial print captured
	Part of the print and linear scale were captured clearly. But couldn’t capture a full print along with a linear scale and label. 

	Security of images 
	Depends on viewing screen used. 
	In this case with the iphone need to ensure there are security measures such as a password to protect the images on the iphone, to reduce the risk of images being exposed.


Dental Camera Situation 1: Behind a door handle
Camera Settings: 1920 x 1080 resolution.

Dental Camera Situation 2: On top of a fence
	[bookmark: _Hlk175230759]Factors of practicability 
	Results
	Observations 

	Time Taken 
	Black High: 3 mins 23 secs
Black Mid: 1 min 20 secs 
Black Low: 4mins 41 secs

White High: 2mins 2 secs
White Mid: 4mins 5secs 
White Low: 4mins 35 secs 
	Difficult to focus camera. Since the focal length is so short focusing and staying still is very difficult since the smallest moments affect the image. 

White powder captured better than black. 

	One or two hands needed
	Two hands
	One hand to operate the device and the other to hold the viewing screen. The device has a capture button attached. 

	Use of additional equipment e.g. mirror
	To allow for torch use a universal mobile phone stand was used.
	Was able to capture print from the ground. 

The phone stand allowed the iphone to be hooked around the reseracher’s neck to allow for use of both hands one to hold the device the other for holding a torch.

	Lighting needed e.g. flash or torch
	Device has in built flash that cannot be turned off. No torch

Torch was used for black low, and all white prints. 
	A torch couldn’t be used due to both hands needed for holding the screen and device. If screen can be placed down and still viewed a torch can be used. 

	Ease of viewing (e.g. attached viewing screen or additional viewing screen)
	Separate viewing screen needed that is capable of wifi connection. App required on phone to used device


	Iphone used as the viewing screen.
DT-WIFI app. 



	Storage of images (SD card or device storage)
	Viewing screen’s memory 
	The images will be stored onto whatever device is used at the viewing screen for the dental camera

	Successful capture of fingermark
	No, only partial print captured
White mid was able to capture most of the print. 
	Part of the print and linear scale were captured clearly. But couldn’t capture a full print along with a linear scale and label. 

	Security of images 
	Depends on viewing screen used. 
	In this case with the iphone need to ensure there are security measures such as a password to protect the images on the iphone, to reduce the risk of images being exposed.



Camera Settings: 1920 x 1080 resolution. 

Dental Camera Situation 3: Outside on a windowsill
	Factors of practicability 
	Results
	Observations 

	Time Taken 
	Black High: 3 mins 8secs 
Black Mid: 2mins 11secs 
Black Low: 2mins 11secs 

White High: 2mins 37secs 
White Mid: 1min 30secs 
White Low:  1min 37secs 
	

	One or two hands needed
	Two hands
	One hand to operate the device and the other to hold the viewing screen. The device has a capture button attached. 

	Use of additional equipment e.g. mirror
	To allow for torch use a universal mobile phone stand was used.
	The phone stand allowed the iphone to be hooked around the reseracher’s neck to allow for use of both hands one to hold the device the other for holding a torch.

	Lighting needed e.g. flash or torch
	Torch

	Torch had to be held to skim light across the print to avoid black lines forming on image. 

	Ease of viewing (e.g. attached viewing screen or additional viewing screen)
	Separate viewing screen needed that is capable of wifi connection. App required on phone to used device


	Iphone used as the viewing screen.
DT-WIFI app. 



	Storage of images (SD card or device storage)
	Viewing screen’s memory 
	The images will be stored onto whatever device is used at the viewing screen for the dental camera

	Successful capture of fingermark
	No, only partial print captured
	Part of the print and linear scale were captured clearly. But couldn’t capture a full print along with a linear scale and label. 

	Security of images 
	Depends on viewing screen used. 
	In this case with the iphone need to ensure there are security measures such as a password to protect the images on the iphone, to reduce the risk of images being exposed.



Camera Settings: 1920 x 1080 resolution. 

Dental Camera Methods Situation 4: Under a handrail
	Factors of practicability 
	Results
	Observations 

	Time Taken 
	Black High:
Black Mid:
Black Low:

White High:
White Mid:
White Low:  
	

	One or two hands needed
	
	

	Use of additional equipment e.g. mirror
	
	

	Lighting needed e.g. flash or torch
	
	

	Ease of viewing (e.g. attached viewing screen or additional viewing screen)
	
	

	Storage of images (SD card or device storage)
	
	

	Successful capture of fingermark
	
	

	Security of images 
	
	



Camera Settings:

Dental Camera Situation 5: Inside an evidence item (Safe)
	Factors of practicability 
	Results
	Observations 

	Time Taken 
	Black High:
Black Mid:
Black Low:

White High:
White Mid:
White Low:  
	

	One or two hands needed
	
	

	Use of additional equipment e.g. mirror
	
	

	Lighting needed e.g. flash or torch
	
	

	Ease of viewing (e.g. attached viewing screen or additional viewing screen)
	
	

	Storage of images (SD card or device storage)
	
	

	Successful capture of fingermark
	
	

	Security of images 
	
	



Camera Settings:

