| Factors of practicability | Results | Observations |
| --- | --- | --- |
| Time Taken | Black High: 6mins 58secs Black Mid: 2mins 46secs Black Low: 2mins 36secs White High: 2mins 8secs White Mid: 2mins 35secs White Low: 2mins 45secs | Focus distance is greater than the distance between the gap, so a mirror is needed. Angle to capture print reflection also affects distortion. Diffused reflections cause light to be reflected in the mirror. |
| One or two hands needed | Two hands |  |
| Use of additional equipment e.g. mirror | Mirror and tape | Mirror had to be taped to door to allow for torch to be used to properly capture the fingermark. Able to capture the mark holding the mirror but not torch. Depends on limitations on which technique can be used. |
| Lighting needed e.g. flash or torch | Torch |  |
| Ease of viewing (e.g. attached viewing screen or additional viewing screen) | Smartphone screen is attached to lens. | Have to be able to view screen and cannot move screen to view at different angles. Must be on top of the iphone to be able to see what is being photographed. |
| Storage of images (SD card or device storage) | Images stored to iphone’s memory | The photos need to be moved to a secure location from the phone’s memory. |
| Successful capture of fingermark | Yes | Images clear. Linear scale and label can be included in image. Distortion caused by mirror |
| Security of images | Low security as iphone used isn’t password protected. | Need to ensure there are security measures such as a password to protect the images on the iphone, to reduce the risk of images being exposed. |

Iphone Situation 1: Behind a door handle

Camera Settings: Flash disabled, 2x magnification camera used, auto focus.

Iphone Situation 2: On top of a fence

| Factors of practicability | Results | Observations |
| --- | --- | --- |
| Time Taken | Black High: 2 mins 4 secs Black Mid: 1min 18 secs Black Low: 1min 56 secs White High: 2mins 15 secs White Mid: 3mins 52 secs White Low: 2mins 10secs | Moving the shutter button or using the side button to capture photos allows for easier one handed operation of the device. |
| One or two hands needed | Two hands | One hand is needed to operate the device. The other is to operate the torch. |
| Use of additional equipment e.g. mirror | Stepladder | Due to the limitations of the researcher’s height, a stepladder was needed to capture the print. Capturing the print without the stepladder was conducted beforehand and was unsuccessful. |
| Lighting needed e.g. flash or torch | Torch | Torch held at a 45-degree angle and farther back from the subject to gain even illumination. |
| Ease of viewing (e.g. attached viewing screen or additional viewing screen) | Smartphone screen is attached to lens. | Have to be able to view screen and cannot move screen to view at different angles. Must be on top of the iphone to be able to see what is being photographed. |
| Storage of images (SD card or device storage) | Images stored to iphone’s memory | The photos need to be moved to a secure location from the phone’s memory. |
| Successful capture of fingermark | Yes | Images clear. Linear scale and label can be included in image. |
| Security of images | Low security as iphone used isn’t password protected. | Need to ensure there are security measures such as a password to protect the images on the iphone, to reduce the risk of images being exposed. |

Camera Settings: Flash disabled, 2x magnification camera used, auto focus.

Iphone Situation 3: Outside on a windowsill

| Factors of practicability | Results | Observations |
| --- | --- | --- |
| Time Taken | Black High: 2mins 13secs Black Mid: 2mins 27secs Black Low: 4mins 28secs White High: 4mins 22secs White Mid: 1min 35secs White Low: 1min 40secs | Awkard hand holding of device to gain access to capture print, highly likely to drop phone it to capture fingermarks. Due to position of hands and touchscreen of device can easily accidently change settings while photographing. |
| One or two hands needed | Two hands | One hand is needed to operate the device. The other is to operate the torch. |
| Use of additional equipment e.g. mirror | No |  |
| Lighting needed e.g. flash or torch | Torch Flash on iphone causes hotspot on print. | Torch held at a 45-degree angle and farther back from the subject to gain even illumination. Difficult to handle iphone while trying to achieve diffused reflection. |
| Ease of viewing (e.g. attached viewing screen or additional viewing screen) | Smartphone screen is attached to lens. | Have to be able to view screen and cannot move screen to view at different angles. Must be on top of the iphone to be able to see what is being photographed. |
| Storage of images (SD card or device storage) | Images stored to iphone’s memory | The photos need to be moved to a secure location from the phone’s memory. |
| Successful capture of fingermark | Yes | Images clear. Linear scale and label can be included in image. |
| Security of images | Low security as iphone used isn’t password protected. | Need to ensure there are security measures such as a password to protect the images on the iphone, to reduce the risk of images being exposed. |

Camera Settings: Flash disabled, 2x magnification camera used, auto focus.

Iphone Situation 4: Under a handrail

| Factors of practicability | Results | Observations |
| --- | --- | --- |
| Time Taken | Black High: Black Mid: Black Low: White High: White Mid: White Low: |  |
| One or two hands needed |  |  |
| Use of additional equipment e.g. mirror |  |  |
| Lighting needed e.g. flash or torch |  |  |
| Ease of viewing (e.g. attached viewing screen or additional viewing screen) |  |  |
| Storage of images (SD card or device storage) |  |  |
| Successful capture of fingermark |  |  |
| Security of images |  |  |

Camera Settings:

Iphone Situation 5: Inside an evidence item (Safe)

| Factors of practicability | Results | Observations |
| --- | --- | --- |
| Time Taken | Black High: Black Mid: Black Low: White High: White Mid: White Low: |  |
| One or two hands needed |  |  |
| Use of additional equipment e.g. mirror |  |  |
| Lighting needed e.g. flash or torch |  |  |
| Ease of viewing (e.g. attached viewing screen or additional viewing screen) |  |  |
| Storage of images (SD card or device storage) |  |  |
| Successful capture of fingermark |  |  |
| Security of images |  |  |

Camera Settings: