	[bookmark: _Hlk175230432]Factors of practicability 
	Results
	Observations 

	Time Taken 
	Black High: 2min 54secs 
Black Mid: 4mins 42secs 
Black Low: 1min 29 secs

White High: 1 min 10secs 
White Mid: 1min 7secs 
White Low:  1min 23secs 
	The flash on the camera reflects off the mirror which affects the captured image.
 Device cannot get close enough to mirror or print to focus. 




	One or two hands needed
	Two hands 
	One hand to operate the device and the other to hold the viewing screen.

	Use of additional equipment e.g. mirror
	Mirror 
	Able to hold mirror and camera with one hand.
Even with the mirror taped to door the photo captured are of the same quality.  

	Lighting needed e.g. flash or torch
	Device has in built flash that cannot be turned off. Without a torch diffused reflection cannot be achieved. Which is needed for the white prints
	A torch couldn’t be used due to both hands needed for holding the screen and device. 

	Ease of viewing (e.g. attached viewing screen or additional viewing screen)
	Separate viewing screen needed that is capable of wifi connection. App required on phone to used device
	Samsung Galaxy S22 used as the viewing screen.


	Storage of images (SD card or device storage)
	Viewing screen’s memory 
	The images will be stored onto whatever device is used at the viewing screen for the dental camera

	Successful capture of fingermark
	No, print is not in focus after multiple attempts. 
	The reflection causes distortion which the camera has trouble capturing.  
The flash on the camera reflects off the mirror which affects the captured image.

	Security of images 
	Depends on viewing screen used. 
	In this case with the Samsung need to ensure there are security measures such as a password to protect the images on the Samsung, to reduce the risk of images being exposed.


Otoscope Situation 1: Behind a door handle

Camera Settings: Default camera settings as it cannot be changed.

Otoscope Situation 2: On top of a fence
	[bookmark: _Hlk175230759]Factors of practicability 
	Results
	Observations 

	Time Taken 
	Black High: 3mins 30secs
Black Mid: 2 mins 40 secs
Black Low: 4mins 30secs

White High: 2min 56secs 
White Mid: 2mins 50secs
White Low:  2mins 10secs 
	Difficult to focus camera. Since the focal length is so short focusing and staying still is very difficult since the smallest moments affect the image.

Impossible to focus as image keeps changing orientation on the app to account for camera movement. Can’t focus device while using it handheld. 

	One or two hands needed
	Two hands 
	One hand to operate the device and the other to hold the viewing screen.

	Use of additional equipment e.g. mirror
	No 
	Was able to capture print from the ground

	Lighting needed e.g. flash or torch
	Device has in built flash that cannot be turned off. Without a torch diffused reflection cannot be achieved. Which is needed for the white prints
	A torch couldn’t be used due to both hands needed for holding the screen and device. 

	Ease of viewing (e.g. attached viewing screen or additional viewing screen)
	Separate viewing screen needed that is capable of wifi connection. App required on phone to used device
	Samsung Galaxy S22 used as the viewing screen.


	Storage of images (SD card or device storage)
	Viewing screen’s memory 
	The images will be stored onto whatever device is used at the viewing screen for the dental camera

	Successful capture of fingermark
	No, only partial print captured. 2nd time round couldn’t capture print. Print is not in focus after multiple attempts. 
	Part of the print and linear scale were captured but couldn’t get the camera to focus with a limited focal length. Also, couldn’t capture a full print along with a linear scale and label. 

	Security of images 
	Depends on viewing screen used. 
	In this case with the Samsung need to ensure there are security measures such as a password to protect the images on the Samsung, to reduce the risk of images being exposed.



Camera Settings: Default camera settings as it cannot be changed. 

Otoscope Situation 3: Outside on a windowsill
	Factors of practicability 
	Results
	Observations 

	Time Taken 
	Black High:
Black Mid:
Black Low:

White High:
White Mid:
White Low:  
	

	One or two hands needed
	
	

	Use of additional equipment e.g. mirror
	
	

	Lighting needed e.g. flash or torch
	
	

	Ease of viewing (e.g. attached viewing screen or additional viewing screen)
	
	

	Storage of images (SD card or device storage)
	
	

	Successful capture of fingermark
	
	

	Security of images 
	
	



Camera Settings:

Otoscope Situation 4: Under a handrail
	Factors of practicability 
	Results
	Observations 

	Time Taken 
	Black High:
Black Mid:
Black Low:

White High:
White Mid:
White Low:  
	

	One or two hands needed
	
	

	Use of additional equipment e.g. mirror
	
	

	Lighting needed e.g. flash or torch
	
	

	Ease of viewing (e.g. attached viewing screen or additional viewing screen)
	
	

	Storage of images (SD card or device storage)
	
	

	Successful capture of fingermark
	
	

	Security of images 
	
	



Camera Settings:

Otoscope Situation 5: Inside an evidence item (Safe)
	Factors of practicability 
	Results
	Observations 

	Time Taken 
	Black High:
Black Mid:
Black Low:

White High:
White Mid:
White Low:  
	

	One or two hands needed
	
	

	Use of additional equipment e.g. mirror
	
	

	Lighting needed e.g. flash or torch
	
	

	Ease of viewing (e.g. attached viewing screen or additional viewing screen)
	
	

	Storage of images (SD card or device storage)
	
	

	Successful capture of fingermark
	
	

	Security of images 
	
	



Camera Settings:

