| Factors of practicability | Results | Observations |
| --- | --- | --- |
| Time Taken | Black High: 2min 54secs Black Mid: 4mins 42secs Black Low: 1min 29 secs White High: 1 min 10secs White Mid: 1min 7secs White Low: 1min 23secs | The flash on the camera reflects off the mirror which affects the captured image. Device cannot get close enough to mirror or print to focus. |
| One or two hands needed | Two hands | One hand to operate the device and the other to hold the viewing screen. |
| Use of additional equipment e.g. mirror | Mirror | Able to hold mirror and camera with one hand. Even with the mirror taped to door the photo captured are of the same quality. |
| Lighting needed e.g. flash or torch | Device has in built flash that cannot be turned off. Without a torch diffused reflection cannot be achieved. Which is needed for the white prints | A torch couldn’t be used due to both hands needed for holding the screen and device. |
| Ease of viewing (e.g. attached viewing screen or additional viewing screen) | Separate viewing screen needed that is capable of wifi connection. App required on phone to used device | Samsung Galaxy S22 used as the viewing screen. |
| Storage of images (SD card or device storage) | Viewing screen’s memory | The images will be stored onto whatever device is used at the viewing screen for the dental camera |
| Successful capture of fingermark | No, print is not in focus after multiple attempts. | The reflection causes distortion which the camera has trouble capturing. The flash on the camera reflects off the mirror which affects the captured image. |
| Security of images | Depends on viewing screen used. | In this case with the Samsung need to ensure there are security measures such as a password to protect the images on the Samsung, to reduce the risk of images being exposed. |

Otoscope Situation 1: Behind a door handle

Camera Settings: Default camera settings as it cannot be changed.

Otoscope Situation 2: On top of a fence

| Factors of practicability | Results | Observations |
| --- | --- | --- |
| Time Taken | Black High: 3mins 30secs Black Mid: 2 mins 40 secs Black Low: 4mins 30secs White High: 2min 56secs White Mid: 2mins 50secs White Low: 2mins 10secs | Difficult to focus camera. Since the focal length is so short focusing and staying still is very difficult since the smallest moments affect the image. Impossible to focus as image keeps changing orientation on the app to account for camera movement. Can’t focus device while using it handheld. |
| One or two hands needed | Two hands | One hand to operate the device and the other to hold the viewing screen. |
| Use of additional equipment e.g. mirror | No | Was able to capture print from the ground |
| Lighting needed e.g. flash or torch | Device has in built flash that cannot be turned off. Without a torch diffused reflection cannot be achieved. Which is needed for the white prints | A torch couldn’t be used due to both hands needed for holding the screen and device. |
| Ease of viewing (e.g. attached viewing screen or additional viewing screen) | Separate viewing screen needed that is capable of wifi connection. App required on phone to used device | Samsung Galaxy S22 used as the viewing screen. |
| Storage of images (SD card or device storage) | Viewing screen’s memory | The images will be stored onto whatever device is used at the viewing screen for the dental camera |
| Successful capture of fingermark | No, only partial print captured. 2nd time round couldn’t capture print. Print is not in focus after multiple attempts. | Part of the print and linear scale were captured but couldn’t get the camera to focus with a limited focal length. Also, couldn’t capture a full print along with a linear scale and label. |
| Security of images | Depends on viewing screen used. | In this case with the Samsung need to ensure there are security measures such as a password to protect the images on the Samsung, to reduce the risk of images being exposed. |

Camera Settings: Default camera settings as it cannot be changed.

Otoscope Situation 3: Outside on a windowsill

| Factors of practicability | Results | Observations |
| --- | --- | --- |
| Time Taken | Black High: Black Mid: Black Low: White High: White Mid: White Low: |  |
| One or two hands needed |  |  |
| Use of additional equipment e.g. mirror |  |  |
| Lighting needed e.g. flash or torch |  |  |
| Ease of viewing (e.g. attached viewing screen or additional viewing screen) |  |  |
| Storage of images (SD card or device storage) |  |  |
| Successful capture of fingermark |  |  |
| Security of images |  |  |

Camera Settings:

Otoscope Situation 4: Under a handrail

| Factors of practicability | Results | Observations |
| --- | --- | --- |
| Time Taken | Black High: Black Mid: Black Low: White High: White Mid: White Low: |  |
| One or two hands needed |  |  |
| Use of additional equipment e.g. mirror |  |  |
| Lighting needed e.g. flash or torch |  |  |
| Ease of viewing (e.g. attached viewing screen or additional viewing screen) |  |  |
| Storage of images (SD card or device storage) |  |  |
| Successful capture of fingermark |  |  |
| Security of images |  |  |

Camera Settings:

Otoscope Situation 5: Inside an evidence item (Safe)

| Factors of practicability | Results | Observations |
| --- | --- | --- |
| Time Taken | Black High: Black Mid: Black Low: White High: White Mid: White Low: |  |
| One or two hands needed |  |  |
| Use of additional equipment e.g. mirror |  |  |
| Lighting needed e.g. flash or torch |  |  |
| Ease of viewing (e.g. attached viewing screen or additional viewing screen) |  |  |
| Storage of images (SD card or device storage) |  |  |
| Successful capture of fingermark |  |  |
| Security of images |  |  |

Camera Settings: