| Factors of practicability | Results | Observations |
| --- | --- | --- |
| Time Taken | Black High: 2mins 52 secs Black Mid: 2mins 58secs Black Low: 4mins 10secs White High: 2mins 30secs White Mid: 2mins 4secs White Low: 2mins 26secs | Able to capture print without additional equipment. Can’t take landscape photos due to situation |
| One or two hands needed | Two Hands | One to hold viewing screen the other to focus camera lens |
| Use of additional equipment e.g. mirror | No |  |
| Lighting needed e.g. flash or torch | Torch Needed No Torch used. Flash used on white prints. | A torch couldn’t be used due to both hands needed for holding the screen and device. Need torch for diffused reflection. Causes hotspots but was the only way to see prints. |
| Ease of viewing (e.g. attached viewing screen or additional viewing screen) | Screen attached to the fibre optic camera | The screen and camera are one device |
| Storage of images (SD card or device storage) | Mirco SD card | Difficult to insert and remove SD card |
| Successful capture of fingermark | Yes | Print captured clearly, linear scale and label can be captured in image. |
| Security of images | Mirco SD card manual transfer of files into secure locations | Ensure SD card is kept in a secure location at all times and images are transferred to appropriate locations as soon as possible. |

Teslong Side Situation 1: Behind a door handle

Camera Settings: Default camera settings

Teslong Side Situation 2: On top of a fence

| Factors of practicability | Results | Observations |
| --- | --- | --- |
| Time Taken | Black High: 2 mins 21secs Black Mid: 4mins 55 secs Black Low: 3mins 16secs White High: 3mins 48 secs White Mid: 6mins 2 secs White Low: 2mins 50secs | The side camera is easier to focus than the straight in this situation. Linear scale in focus but fingermark looks out of focus. Difficult to focus handheld. |
| One or two hands needed | Two Hands | One to hold viewing screen the other to focus camera lens |
| Use of additional equipment e.g. mirror | No | Was able to capture print from the ground |
| Lighting needed e.g. flash or torch | Flash used for white prints to attempt to achieve diffused reflection which is needed for white prints | A torch couldn’t be used due to both hands needed for holding the screen and device. |
| Ease of viewing (e.g. attached viewing screen or additional viewing screen) | Screen attached to the fibre optic camera | The screen and camera are one device |
| Storage of images (SD card or device storage) | Mirco SD card | Difficult to insert and remove SD card |
| Successful capture of fingermark | Yes | Print captured clearly, linear scale and label can be captured in image. |
| Security of images | Mirco SD card manual transfer of files into secure locations | Ensure SD card is kept in a secure location at all times and images are transferred to appropriate locations as soon as possible. |

Camera Settings: Default camera settings.

Teslong Side Situation 3: Outside on a windowsill

| Factors of practicability | Results | Observations |
| --- | --- | --- |
| Time Taken | Black High: 2mins 15 secs Black Mid: 3mins 57secs Black Low: 1min 25secs White High: 59secs White Mid: 1min 35secs White Low: 1min 47secs | Difficult to angle camera perpendicular to print. |
| One or two hands needed | Two Hands | One to hold viewing screen the other to focus camera lens |
| Use of additional equipment e.g. mirror | No | Was able to capture print from the ground |
| Lighting needed e.g. flash or torch | Flash used for black prints to gain better lighting Flash used for white prints to attempt to achieve diffused reflection which is needed for white prints | A torch couldn’t be used due to both hands needed for holding the screen and device. |
| Ease of viewing (e.g. attached viewing screen or additional viewing screen) | Screen attached to the fibre optic camera | The screen and camera are one device |
| Storage of images (SD card or device storage) | Mirco SD card | Difficult to insert and remove SD card |
| Successful capture of fingermark | Yes | Print captured clearly, linear scale and label can be captured in image. |
| Security of images | Mirco SD card manual transfer of files into secure locations | Ensure SD card is kept in a secure location at all times and images are transferred to appropriate locations as soon as possible. |

Camera Settings: Default camera settings.

Teslong Side Situation 4: Under a handrail

| Factors of practicability | Results | Observations |
| --- | --- | --- |
| Time Taken | Black High: Black Mid: Black Low: White High: White Mid: White Low: |  |
| One or two hands needed |  |  |
| Use of additional equipment e.g. mirror |  |  |
| Lighting needed e.g. flash or torch |  |  |
| Ease of viewing (e.g. attached viewing screen or additional viewing screen) |  |  |
| Storage of images (SD card or device storage) |  |  |
| Successful capture of fingermark |  |  |
| Security of images |  |  |

Camera Settings:

Teslong Side Situation 5: Inside an evidence item (Safe)

| Factors of practicability | Results | Observations |
| --- | --- | --- |
| Time Taken | Black High: Black Mid: Black Low: White High: White Mid: White Low: |  |
| One or two hands needed |  |  |
| Use of additional equipment e.g. mirror |  |  |
| Lighting needed e.g. flash or torch |  |  |
| Ease of viewing (e.g. attached viewing screen or additional viewing screen) |  |  |
| Storage of images (SD card or device storage) |  |  |
| Successful capture of fingermark |  |  |
| Security of images |  |  |

Camera Settings: