| Factors of practicability | Results | Observations |
| --- | --- | --- |
| Time Taken | Black High: 4mins 55secs Black Mid: 3mins 36secs Black Low: 2mins 25secs White High: 2mins 45secs White Mid: 2 mins 7secs White Low: 1min 55secs | Camera appears on reflection and covers fingermark if it gets close enough to focus. Prints are out of focus in the mirror, camera struggles to capture the reflection. Flash causes reflections in mirror. |
| One or two hands needed | Two Hands | One to hold viewing screen the other to focus camera lens |
| Use of additional equipment e.g. mirror | Mirror | Able to handhold the mirror along with the device. |
| Lighting needed e.g. flash or torch | Torch needed No troch could be used. Flash for white prints | A torch couldn’t be used due to both hands needed for holding the screen and device. Flash used for white prints to attempt to achieve diffused reflection which is needed for white prints |
| Ease of viewing (e.g. attached viewing screen or additional viewing screen) | Screen attached to the fibre optic camera | The screen and camera are one device |
| Storage of images (SD card or device storage) | Mirco SD card | Difficult to insert and remove SD card |
| Successful capture of fingermark | No Low white couldn’t be captured at all. | The print is captured but it is out of focus due to not being able to get close enough to focal range. |
| Security of images | Mirco SD card manual transfer of files into secure locations | Ensure SD card is kept in a secure location at all times and images are transferred to appropriate locations as soon as possible. |

Teslong Straight Situation 1: Behind a door handle

Camera Settings: Default camera settings.

Teslong Straight Situation 2: On top of a fence

| Factors of practicability | Results | Observations |
| --- | --- | --- |
| Time Taken | Black High: 4mins 30secs Black Mid: 2mins Black Low: 4mins 54 secs White High: 6mins 36secs White Mid: 8mins and 38 secs White Low: 6min 5secs | Difficult to focus camera with long fibre optic cable trying to secure it for capture. |
| One or two hands needed | Two Hands | One to hold viewing screen the other to focus camera lens |
| Use of additional equipment e.g. mirror | No | Was able to capture print from the ground |
| Lighting needed e.g. flash or torch | Torch needed Flash used for white prints to attempt to achieve diffused reflection which is needed for white prints | A torch couldn’t be used due to both hands needed for holding the screen and device. |
| Ease of viewing (e.g. attached viewing screen or additional viewing screen) | Screen attached to the fibre optic camera | The screen and camera are one device |
| Storage of images (SD card or device storage) | Mirco SD card | Difficult to insert and remove SD card |
| Successful capture of fingermark | Yes | Print captured clearly, linear scale and label can be captured in image. |
| Security of images | Mirco SD card manual transfer of files into secure locations | Ensure SD card is kept in a secure location at all times and images are transferred to appropriate locations as soon as possible. |

Camera Settings: Default camera settings.

Teslong Straight Situation 3: Outside on a windowsill

| Factors of practicability | Results | Observations |
| --- | --- | --- |
| Time Taken | Black High: 4mins 50secs Black Mid: 1min 38secs Black Low: 1min 25s White High: 1min 19secs White Mid: 1min 15secs White Low: 1min 15secs | 1st print took extra time to work out how to successful capture the print. |
| One or two hands needed | Two Hands | One to hold viewing screen the other to focus camera lens |
| Use of additional equipment e.g. mirror | No |  |
| Lighting needed e.g. flash or torch | Torch needed Flash used for black prints to gain better lighting. Flash used for white prints to attempt to achieve diffused reflection which is needed for white prints | A torch couldn’t be used due to both hands needed for holding the screen and device. |
| Ease of viewing (e.g. attached viewing screen or additional viewing screen) | Screen attached to the fibre optic camera | The screen and camera are one device |
| Storage of images (SD card or device storage) | Mirco SD card | Difficult to insert and remove SD card |
| Successful capture of fingermark | Yes | Print captured clearly, linear scale and label can be captured in image. |
| Security of images | Mirco SD card manual transfer of files into secure locations | Ensure SD card is kept in a secure location at all times and images are transferred to appropriate locations as soon as possible. |

Camera Settings: Default camera settings.

Teslong Straight Situation 4: Under a handrail

| Factors of practicability | Results | Observations |
| --- | --- | --- |
| Time Taken | Black High: Black Mid: Black Low: White High: White Mid: White Low: |  |
| One or two hands needed |  |  |
| Use of additional equipment e.g. mirror |  |  |
| Lighting needed e.g. flash or torch |  |  |
| Ease of viewing (e.g. attached viewing screen or additional viewing screen) |  |  |
| Storage of images (SD card or device storage) |  |  |
| Successful capture of fingermark |  |  |
| Security of images |  |  |

Camera Settings:

Teslong Straight Situation 5: Inside an evidence item (Safe)

| Factors of practicability | Results | Observations |
| --- | --- | --- |
| Time Taken | Black High: Black Mid: Black Low: White High: White Mid: White Low: |  |
| One or two hands needed |  |  |
| Use of additional equipment e.g. mirror |  |  |
| Lighting needed e.g. flash or torch |  |  |
| Ease of viewing (e.g. attached viewing screen or additional viewing screen) |  |  |
| Storage of images (SD card or device storage) |  |  |
| Successful capture of fingermark |  |  |
| Security of images |  |  |

Camera Settings: